## Sheet1
Mission Number | Forecasted Significant Wave Height, Hs [m] | Forecasted Peak Period, Tp [s] | Forecasted Peak Direction, Dp [degrees] | Deployment Method | Array Type | Deployer 1 | Deployer 2 | Retriever 1 | Retriever 2/ Notetaker | microSWIFTs checked by | Total Number of microSWIFTs | Total Number of Shepard Buoys Deployed | microSWIFTs Deployed | microSWIFTs Retrieved | Shepherds Retrieved | Start Time | End Time | Deployment Notes | Data Offloaded and Archived by | Data Offload Notes
0 | 1 | 5 | 90 | surf board | two-cross shore lines | EJ Rainville | Emily Iseley | Emily Iseley | EJ Rainville | EJ Rainville | 6 | 0 | 11,21,25,31,32,41 | 11,21,25,31,32,41 | 0 | 2021-09-21T21:30:00 | 2021-09-21T22:30:00 | This is an example deployment. Testing Data offload workflow on Lab bench | EJ Rainville | This is an example. All data offloaded correctly
1 | 0.5 - 1 | 10 | E - SE | surf board | clusters | Jim Thomson | EJ Rainville | Alex de Klerk | Christine Baker + Sean McGill | EJ Rainville | 12 | 4 | 3,4,5,7,8,9,37,38,39,43,44,45 | 3,4,5,8,9,37,38,39,44,45 | 3,4 | 2021-10-04T14:59:24 | 2021-10-04T18:30:00 | At 14:46 the first 8 were deployed which consisted of two sets of four initially move offshore. Then at 14:59 thenext 8 were deployed in two sets of four closer onshore. At 15:17 recovered the second deployment set on north side of pier. At 15:28 redeployed the second set further south and onshore. At 15:50 Recovered second set and redployed in the breaking zone at 16:00. At 16:20 the first set continued to track north and offshore, approximately 0.6 km offshore. Finally at 17:54 we paddled very far offshore and recovered five microSWIFTs and two shepherds from the second set. microSWIFTs 37, 44, 45, 9, and 8 were all recovered by Jim on 10/5 by boat with lights on | EJ Rainville | All data that we have has been offloaded and backed up.
2 | 0.5 - 1 | 10 | E - SE | surf board | clusters and people watched them to make sure they don't drift too far | Alex de Klerk | Sean McGill | Christine Baker | EJ Rainville | EJ Rainville | 6 | 2 | 3,4,5,6,10,39 | 3,4,5,6,10,39 | 3,4 | 2021-10-05T14:30:00 | 2021-10-05T16:00:00 | 8:53 - 003 isn't getting gps signal and 006 is not able to initaize the modem 9:00 - 003 has gotten gps signal and 006 has initialized modem after a reboot 10:30 - micros deployed with a strong northerly alongshore current 10:38 - Chirstine reports feeling current reversals while swimming in bar trough 10:45 - micros are reset close to the original location 11:00 - All micros Retreived from first deployment but etner surf zone and exited during send window 11:10 - All mcros headed back out in same array 11:17 - All micros enter the whitewater 11:25 - All micros are retrieved 11:35 - All micros headed back out 11:40 - All micros in water 11:55 - All micros retrieved | EJ Rainville | All data that we have has been offloaded and backed up.
3 | 0.5 - 1 | 10 | E - SE | surf board | small grid (3x3) | Alex de Klerk | Sean McGill | Christine Baker | EJ Rainville | EJ Rainville | 9 | 2 | 3,4,5,40,41,42,39,38,57 | 3,4,5,40,41,42,39,38,57 | 3,4 | 2021-10-05T17:10:00 | 2021-10-05T17:40:00 | All microSWIFTs were retrieved - We needed to play goalie at the pier since the micros were headed north quickly - this was effective for getting them all back - this mission was right at low tide | EJ Rainville | No Additional Notes
4 | 0.5 - 1 | 10 | E - SE | surf board | small grid (3x3) | Alex de Klerk | Sean McGill | Christine Baker | EJ Rainville | EJ Rainville | 9 | 2 | 3,4,5,40,41,42,39,38,57 | 3,4,5,40,41,42,39,38,57 | 3,4 | 2021-10-05T18:06:00 | 2021-10-05T18:35:00 | This mission was just after low tide and there was a light onshore breeze | EJ Rainville | No Additional Notes
5 | 0.5 - 1 | 10 | E - SE | surf board | small grid (3x3) | Alex de Klerk | Sean McGill | Christine Baker | EJ Rainville | EJ Rainville | 9 | 2 | 3,4,5,40,41,42,39,38,57 | 3,4,5,40,41,42,39,38,57 | 3,4 | 2021-10-05T18:35:00 | 2021-10-05T18:50:00 | This mission was very short | EJ Rainville | No Additional Notes
6 | 0.5 - 1 | 10 | E - SE | surf board | clusters | Jim Thomson | EJ Rainville | Alex de Klerk | Christine Baker + Sean McGill | EJ Rainville | 5 | 0 | 37,44,45,9, 8 | 37,44,45,9, 8 | 0 | 2021-10-04T14:59:24 | 2021-10-05T20:00:00 | NOTE: This was not a separate mission from mission 1. These were the microSWIFTs that were lost from the first mission and recovered by boat the following day on 10/5. | EJ Rainville | No Additional Notes
7 | 0.5 - 1 | 11.5 | 78 | helicopter | alongshore line | EJ Rainville | Alex de Klerk | Jim Thomson | Christine Baker + Sean McGill | EJ Rainville | 8 | 2 | 4,5,37,38,39,40,41,57 | 4,5,37,38,39,40,41,57 | 3,4 | 2021-10-06T14:55:00 | 2021-10-06T18:00:00 | All parachutes deploye correctly All times when plotting seem to be an hour ahead of our hnd written notes - for now adjsting that value in this document for start and end times and it s shifted forward and hour from what was written down. Accidentally deplyed a microSWIFT on the north end just after the spotter buoy rather than a shepherd buoy. | EJ Rainville | No Additional Notes
8 | 1.6 | 5 | 44 | thrown from pier | cross shore line outside of break | EJ Rainville | Alex de Klerk | Jim Thomson | Christine Baker + Sean McGill | EJ Rainville | 9 | 2 | 42,44,5,45,40,46,31,57,29 | 42,44,5,45,40,46,31,57,29 | 5,6 | 2021-10-07T14:00:00 | 2021-10-07T14:20:00 | No Additional Notes | EJ Rainville | 27
9 | 1.6 | 5 | 44 | jetski | alongshore line | lifeguard 1 | lifeguard 2 | Christine Baker | Sean McGill | EJ Rainville | 9 | 2 | 33,4,27,41,38,37,39,25 | 33,4,27,41,38,37,39,25 | 3,4 | 2021-10-07T14:30:00 | 2021-10-07T14:50:00 | No Additional Notes | EJ Rainville | No Additional Notes
10 | 1.6 | 5 | 44 | jetski | alongshore line | lifeguard 1 | lifeguard 2 | Christine Baker | Sean McGill | EJ Rainville | 8 | 2 | 42,44,5,45,40,46,31,57 | 42,44,5,45,40,46,31,57 | 5,6 | 2021-10-07T14:40:00 | 2021-10-07T15:10:00 | No Additional Notes | EJ Rainville | No Additional Notes
11 | 1.6 | 5 | 44 | jetski | alongshore line | lifeguard 1 | lifeguard 2 | Christine Baker | Sean McGill | EJ Rainville | 9 | 2 | 34,38,41,37,25,39,4,27,33 | 34,38,41,37,25,39,4,27,33 | 3,4 | 2021-10-07T15:10:00 | 2021-10-07T16:00:00 | No Additional Notes | EJ Rainville | No Additional Notes
12 | 1.6 | 5 | 44 | jetski | alongshore line | lifeguard 1 | lifeguard 2 | Christine Baker | Sean McGill | EJ Rainville | 17 | 4 | 4,5,25,31,33,34,37,38,39,40,41,42,44,45,46,57,27 | 4,5,25,31,33,34,37,38,39,40,41,42,44,45,46,57,27 | 3,4,5,6 | 2021-10-07T16:00:00 | 2021-10-07T16:30:00 | No Additional Notes | EJ Rainville | No Additional Notes
13 | 1.6 | 5 | 44 | thrown from pier | cross shore line outside of break | EJ Rainville | Alex de Klerk | Jim Thomson | Christine Baker + Sean McGill | EJ Rainville | 18 | 4 | 4,5,25,27,29,31,33,34,37,38,39,40,41,42,44,45,46,57 | 4,5,25,27,29,31,33,34,37,38,39,40,41,42,44,45,46,57 | 3,4,5,6 | 2021-10-07T17:00:00 | 2021-10-07T17:25:00 | No telemetry on 004 | EJ Rainville | No Additional Notes
14 | 1.6 | 5 | 44 | jetski | alongshore line | EJ Rainville | Alex de Klerk | Jim Thomson | Christine Baker + Sean McGill | EJ Rainville | 18 | 4 | 4,5,25,27,29,31,33,34,37,38,39,40,41,42,44,45,46,57 | 4,5,25,27,29,31,33,34,37,38,39,40,41,42,44,45,46,57 | 3,4,5,6 | 2021-10-07T18:00:00 | 2021-10-07T18:35:00 | No Additional Notes | EJ Rainville | No Additional Notes
15 | 1.1 | 5 | 60 | thrown from pier | cross shore line outside of break | Christine Baker | Sean McGill | EJ Rainville | Jim Thomson | EJ Rainville | 34 | 5 | 4,5,7,14,15,16,17,18,19,20,21,22,23,24,25,29,31,33,34,37,38,39,40,41,42,43,44,45,46,56,57,11,13,12 | 4,5,7,14,16,17,18,19,20,21,22,23,24,29,31,33,34,37,38,39,40,41,42,43,44,45,46,56,57,11,13,12 | 1,3,4,5,6 | 2021-10-08T13:17:00 | 2021-10-08T13:46:00 | microSWIFT 015 has some water in it Shepherd 4 needs foam on the bolts so it doesn’t get damaged 025 has some water in it | EJ Rainville | microSWIFTs 21 and 40 are not able to be ssh'ed into so they still need to be offloaded for this mission.
16 | 1.1 | 5 | 60 | jetski | two along shore lines with 50 ft spacing and one cross shore line | lifeguards | Christine and Sean | EJ Rainville | Jim Thomson | EJ Rainville | 32 | 5 | 4,5,7,14,16,17,18,19,20,21,22,23,24,29,31,33,34,37,38,39,40,41,42,43,44,45,46,56,57,11,13,12 | 4,5,7,14,16,17,18,19,20,21,22,23,24,29,31,33,34,37,38,39,40,41,42,43,44,45,46,56,57,11,13,12 | 1,3,4,5,6 | 2021-10-08T14:05:00 | 2021-10-08T14:46:00 | No Additional Notes | EJ Rainville | No Additional Notes
17 | 1.1 | 5 | 60 | jetski | two along shore lines with 50 ft spacing and one cross shore line | lifeguards | Christine and Sean | EJ Rainville | Jim Thomson | EJ Rainville | 32 | 5 | 4,5,7,14,16,17,18,19,20,21,22,23,24,29,31,33,34,37,38,39,40,41,42,43,44,45,46,56,57,11,13,12 | 4,5,7,14,16,17,18,19,20,21,22,23,24,29,31,33,34,37,38,39,40,41,42,43,44,45,46,56,57,11,13,12 | 1,3,4,5,6 | 2021-10-08T15:00:00 | 2021-10-08T16:00:00 | No Additional Notes | EJ Rainville | No Additional Notes
18 | 1.1 | 5 | 60 | jetski | two along shore lines with 50 ft spacing and one cross shore line | lifeguards | Christine and Sean | EJ Rainville | Jim Thomson | EJ Rainville | 32 | 5 | 4,5,7,14,16,17,18,19,20,21,22,23,24,29,31,33,34,37,38,39,40,41,42,43,44,45,46,56,57,11,13,12 | 4,5,7,14,16,17,18,19,20,21,22,23,24,29,31,33,34,37,38,39,40,41,42,43,44,45,46,56,57,11,13,12 | 1,3,4,5,6 | 2021-10-08T17:00:00 | 2021-10-08T18:00:00 | No Additional Notes | EJ Rainville | No Additional Notes
19 | 1.1 | 5 | 60 | jetski | two along shore lines with 50 ft spacing and one cross shore line | lifeguards | Christine and Sean | EJ Rainville | Jim Thomson | EJ Rainville | 32 | 5 | 4,5,7,14,16,17,18,19,20,21,22,23,24,29,31,33,34,37,38,39,40,41,42,43,44,45,46,56,57,11,13,12 | 4,5,7,14,16,17,18,19,20,21,22,23,24,29,31,33,34,37,38,39,40,41,42,43,44,45,46,56,57,11,13,12 | 1,3,4,5,6 | 2021-10-08T18:18:00 | 2021-10-08T19:00:00 | No Additional Notes | EJ Rainville | No Additional Notes
20 | 3.26 | 9.88 | 105 | launcher and pier | clusters from the end of pier and a cross shore line from pier | Christine Baker | EJ Rainville | Alex de Klerk | Jim Thomson | EJ Rainville | 51 | 5 | 54,2,3,4,5,6,7,8,9,56,11,12,13,14,57,16,17,18,19,20,21,22,23,24,58,26,27,28,29,59,31,32,33,34,35,36,37,38,40,41,42,43,44,45,46,47,48,49,39,50 | 2,3,4,6,7,8,9,56,11,12,13,14,57,16,17,18,20,21,22,23,24,58,26,27,28,29,59,31,32,33,34,35,36,37,38,40,41,42,43,44,45,46,48,49,39,50 | 1,3,4,5,6 | 2021-10-10T13:00:00 | 2021-10-10T13:27:00 | No Additional Notes
21 | 3.26 | 9.88 | 105 | launcher and pier | clusters from the end of pier and a cross shore line from pier | Christine Baker | EJ Rainville | Alex de Klerk | Jim Thomson | EJ Rainville | 51 | 5 | 54,2,3,4,6,7,8,9,56,11,12,13,14,57,16,17,18,19,20,21,22,23,24,58,26,27,28,29,59,31,32,33,34,35,36,37,38,40,41,42,43,44,45,46,47,48,49,39,50 | 2,3,4,6,7,8,9,56,11,12,13,14,57,16,17,18,20,21,22,23,24,58,26,27,28,29,59,31,32,33,34,35,36,37,38,40,41,42,43,44,45,46,48,49,39,50 | 1,3,4,5,6 | 2021-10-10T14:00:00 | 2021-10-10T14:36:00 | 005,019,054 and 47 got water in them and we have not been able to recover data from them yet
22 | 3.26 | 9.88 | 105 | launcher and pier | clusters from the end of pier and a cross shore line from pier | Christine Baker | EJ Rainville | Alex de Klerk | Jim Thomson | EJ Rainville | 47 | 5 | 2,3,4,6,7,8,9,56,11,12,13,14,57,16,17,18,20,21,22,23,24,58,26,27,28,29,59,31,32,33,34,35,36,37,38,40,41,42,43,44,45,46,48,49,39,50 | 2,3,4,6,7,8,9,56,11,12,13,14,57,16,17,18,20,21,22,23,24,58,26,27,28,29,59,31,32,33,34,35,36,37,38,40,41,42,43,44,45,46,48,49,39,50 | 1,3,4,5,6 | 2021-10-10T15:00:00 | 2021-10-10T15:27:00 | No Additional Notes
23 | 3.26 | 9.88 | 105 | launcher and pier | clusters from the end of pier and a cross shore line from pier | Christine Baker | EJ Rainville | Alex de Klerk | Jim Thomson | EJ Rainville | 47 | 5 | 2,3,4,6,7,8,9,56,11,12,13,14,57,16,17,18,20,21,22,23,24,58,26,27,28,29,59,31,32,33,34,35,36,37,38,40,41,42,43,44,45,46,48,49,39,50 | 2,3,4,6,7,8,9,56,11,12,13,14,57,16,17,18,20,21,22,23,24,58,26,27,28,29,59,31,32,33,34,35,36,37,38,40,41,42,43,44,45,46,48,49,39,50 | 1,3,4,5,6 | 2021-10-10T16:00:00 | 2021-10-10T16:35:00 | No Additional Notes
24 | 2.3 | 10.5 | 79 | pier | cross shore line outside of break | Christine Baker | Melissa Moulton | Joe Talbert | EJ Rainville | EJ Rainville | 39 | 5 | 2,3,4,6,8,56,11,12,13,14,57,16,17,18,20,22,23,24,58,27,28,29,59,31,32,33,34,35,36,37,39,41,42,43,44,46,49,50,6 | 2,3,4,6,8,56,11,12,13,14,57,16,17,18,20,22,23,24,58,27,28,29,59,31,32,33,34,35,36,37,39,41,42,43,44,46,49,50,6 | 1,3,4,5,6 | 2021-10-11T13:05:00 | 2021-10-11T13:47:00 | No Additional Notes
25 | 2.3 | 10.5 | 79 | pier | cross shore line outside of break | Christine Baker | Melissa Moulton | Joe Talbert | EJ Rainville | EJ Rainville | 39 | 5 | 2,3,4,6,8,56,11,12,13,14,57,16,17,18,20,22,23,24,58,27,28,29,59,31,32,33,34,35,36,37,39,41,42,43,44,46,49,50,6 | 2,3,4,6,8,56,11,12,13,14,57,16,17,18,20,22,23,24,58,27,28,29,59,31,32,33,34,35,36,37,39,41,42,43,44,46,49,50,6 | 1,3,4,5,6 | 2021-10-11T14:10:00 | 2021-10-11T14:50:00 | 041 Swing Arms off 043 gps battery popped out 029 one nut came off modem 017 had swing arms off
26 | 2.3 | 10.5 | 79 | pier | two oblong clusters | Christine Baker | Melissa Moulton | Joe Talbert | EJ Rainville | EJ Rainville | 38 | 5 | 2,3,4,6,8,56,11,12,13,14,57,16,17,18,20,22,23,24,58,27,28,29,59,31,32,33,34,35,36,37,39,41,42,43,44,46,49,50,6 | 2,3,4,6,8,56,11,12,13,14,57,16,17,18,20,22,23,24,58,27,28,29,59,31,32,33,34,35,36,37,39,41,42,43,44,46,49,50,6 | 1,3,4,5,6 | 2021-10-11T16:05:00 | 2021-10-11T17:00:00 | switched to oblong clusters to get good alongshore resolution on boundary and closer to shore drifters to compare
27 | 2.3 | 10.5 | 79 | pier | two oblong clusters | Christine Baker | Melissa Moulton | Joe Talbert | EJ Rainville | EJ Rainville | 37 | 5 | 2,3,4,6,8,56,11,12,13,14,57,16,17,18,20,22,23,24,58,27,28,29,59,31,32,33,34,35,36,37,39,41,42,43,44,46,49,50,6 | 2,3,4,6,8,56,11,12,13,14,57,16,17,18,20,22,23,24,58,27,28,29,59,31,32,33,34,35,36,37,39,41,42,43,44,46,49,50,6 | 1,3,4,5,6 | 2021-10-11T17:25:00 | 2021-10-11T18:10:00 | switched to oblong clusters to get good alongshore resolution on boundary and closer to shore drifters to compare
28 | 1.3 | 9 | 75 | jeski | two along shore lines with 50 ft spacing | Christine Baker | Melissa Moulton | Joe Talbert | EJ Rainville | EJ Rainville | 22 | 5 | 2,3,4,5,6,8,56,12,13,14,57,16,17,18,19,20,23,24,58,27,28,29 | 2,3,4,5,6,8,56,12,13,14,57,16,17,18,19,20,23,24,58,27,28,29 | 1,3,4,5,6 | 2021-10-12T13:10:00 | 2021-10-12T18:00:00 | No Additional Notes
29 | 1.3 | 9 | 75 | jetski | along shore line on north side of pier | Christine Baker | Melissa Moulton | Joe Talbert | EJ Rainville | EJ Rainville | 10 | 2 | 2,3,4,5,6,56,11,12,13,14 | 2,3,4,5,6,56,11,12,13,14 | 1,3 | 2021-10-13T13:00:00 | 2021-10-13T13:35:00 | No Additional Notes
30 | 1.3 | 9 | 75 | jetski | along shore lines on north side of pier | Christine Baker | Melissa Moulton | Joe Talbert | EJ Rainville | EJ Rainville | 19 | 4 | 2,3,4,5,56,11,12,13,14,57,41,42,43,44,46,49,50,60,31 | 2,3,4,5,56,11,12,13,14,57,41,42,43,44,46,49,50,60,31 | 1,6,3,4 | 2021-10-13T14:04:00 | 2021-10-13T15:15:00 | No Additional Notes
31 | 1.3 | 9 | 75 | jetski | along shore lines on north side of pier | Christine Baker | Melissa Moulton | Joe Talbert | EJ Rainville | EJ Rainville | 20 | 4 | 2,3,4,5,11,12,13,14,16,17,41,42,43,46,31,44,32,33,34,35 | 2,3,4,5,11,12,13,14,16,17,41,42,43,46,31,44,32,33,34,35 | 1,3,4,6 | 2021-10-13T16:15:00 | 2021-10-13T17:00:00 | No Additional Notes
32 | 1.3 | 9 | 75 | jetski | along shore lines on north side of pier but asked thme to place them closer alongshore distance than previous lines | Christine Baker | Melissa Moulton | Joe Talbert | EJ Rainville | EJ Rainville | 29 | 5 | 3,2,57,56,18,19,20,59,29,28,27,16,58,46,23,12,11,14,13,17,36,42,31,44,41,43,33,49,32 | 3,2,57,56,18,19,20,59,29,28,27,16,58,46,23,12,11,14,13,17,36,42,31,44,41,43,33,49,32 | 1,3,6,4,5 | 2021-10-13T17:20:00 | 2021-10-13T17:40:00 | Instructed to place closer alongshore spacing
33 | 1 | 8.3 | 93 | jetski | alongshore lines on south side of pier | Christine Baker | Melissa Moulton | Joe Talbert | EJ Rainville | EJ Rainville | 10 | 2 | 44,2,43,41,31,32,33,34,35,36 | 44,2,43,41,31,32,33,34,35,36 | 6,7 | 2021-10-14T12:00:00 | 2021-10-14T12:45:00 | No Additional Notes
34 | 1 | 8.3 | 93 | jetski | along shore line on south side of pier in surfzone | Christine Baker | Melissa Moulton | Joe Talbert | EJ Rainville | EJ Rainville | 10 | 2 | 44,2,43,41,31,32,33,34,35,36 | 44,2,43,41,31,32,33,34,35,36 | 1,7 | 2021-10-14T12:56:00 | 2021-10-14T13:15:00 | No Additional Notes
35 | 1 | 8.3 | 93 | jetski | alognshore line in surfzone with offshore clusters | Christine Baker | Melissa Moulton | Joe Talbert | EJ Rainville | EJ Rainville | 15 | 2 | 3,4,11,12,13,14,57,16,18,17,56,9,60,23,37 | 3,4,11,12,13,14,57,16,18,17,56,9,60,23,37 | 3,6 | 2021-10-14T13:15:00 | 2021-10-14T14:00:00 | No Additional Notes
36 | 1 | 8.3 | 93 | jetski | along shore lines on south side of pier | Christine Baker | Melissa Moulton | Joe Talbert | EJ Rainville | EJ Rainville | 13 | 2 | 43,44,46,35,36,37,34,33,32,31,23,39,58 | 43,44,46,35,36,37,34,33,32,31,23,39,58 | 3,6 | 2021-10-14T14:00:00 | 2021-10-14T15:00:00 | No Additional Notes
37 | 1 | 8.3 | 93 | jetski | alognshore line in surfzone with offshore clusters | Christine Baker | Melissa Moulton | Joe Talbert | EJ Rainville | EJ Rainville | 16 | 2 | 11,12,2,3,4,13,14,57,16,17,18,19,9,56,27,60 | 11,12,2,3,4,13,14,57,16,17,18,19,9,56,27,60 | 7,1 | 2021-10-14T15:06:00 | 2021-10-14T16:00:00 | No Additional Notes
38 | 1 | 8.3 | 93 | jetski | alognshore line in surfzone with offshore clusters | Christine Baker | Melissa Moulton | Joe Talbert | EJ Rainville | EJ Rainville | 30 | 6 | 42,4,12,56,19,2,11,16,27,13,3,17,9,18,14,43,44,31,23,32,33,34,35,46,58,60,36,37,39,29 | 42,4,12,56,19,2,11,16,27,13,3,17,9,18,14,43,44,31,23,32,33,34,35,46,58,60,36,37,39,29 | 1,7,6,3,5,4 | 2021-10-14T17:13:00 | 2021-10-14T18:00:00 | No Additional Notes
39 | 0.65 | 11 | 83 | surfboard | two alongshore lines | Christine Baker | EJ Rainville | Melissa Moulton | Joe Talbert | EJ Rainville | 16 | 4 | 2,9,56,11,12,14,57,16,23,19,59,33,42,46,60,31 | 2,9,56,11,12,14,57,16,23,19,59,33,42,46,60,31 | 7,6,5,3 | 2021-10-15T16:00:00 | 2021-10-15T17:00:00 | Interesting circulation patterns - had to pick up many micros on the north side of the pier after they went into the trough on the south side
40 | 0.65 | 11 | 83 | surfboard | two alongshore lines | Christine Baker | EJ Rainville | Melissa Moulton | Joe Talbert | EJ Rainville | 16 | 4 | 2,9,56,11,12,14,57,16,23,19,59,33,42,46,60,31 | 2,9,56,11,12,14,57,16,23,19,59,33,42,46,60,31 | 7,6,5,3 | 2021-10-15T17:00:00 | 2021-10-15T18:00:00 | Steve, Britt and Jinshi helped with this mission

## Sheet2
microSWIFT number | SSH into each microSWIFT | Do we have this microSWIFT? (Valiant Effort and lost) | Git Branch | Is it recording data? | Is it sending telemetry?
2 | x | ? | ? | ? | ?
3 | x | ? | ? | ? | ?
4 | x | x | DUNEX | x
5 | x | x | DUNEX | x | x
6 | x | ? | ? | ? | ?
7 | x | x | DUNEX | needs help
8 | x | ? | ? | ? | ?
9 | x | ? | ? | ? | ?
10 |  | ? | ? | ? | ?
11 | x | x | DUNEX | x | x
12 | x | x | DUNEX | x | x
13 | x | x | DUNEX | x | x
14 | x | x | DUNEX | x | x
15 | x | ? | ? | ? | ?
16 | x | ? | ? | ? | ?
17 | x | ? | ? | ? | ?
18 | x | ? | ? | ? | ?
19 | x | ? | ? | ? | ?
20 | x | ? | ? | ? | ?
21 | x | ? | ? | ? | ?
22 | x | ? | ? | ? | ?
23 | x | ? | ? | ? | ?
24 | x | ? | ? | ? | ?
25 | x | x | DUNEX | x | x
26 | x | ? | ? | ? | ?
27 | x | x | DUNEX | x | x
28 | x | ? | ? | ? | ?
29 | x | x | DUNEX | x | x
30 | WENT TO NOAA | ? | ? | ? | ?
31 | x | x | DUNEX | x | ?
32 | x | x | ? | NO | NO | No git repo - lock time is wrong -
33 | x | x | DUNEX | x | x
34 | x | x | DUNEX | x | ?
35 | x | ? | ? | ? | ?
36 | x | ? | ? | ? | ?
37 | x | x | DUNEX | x | x
38 | x | x | DUNEX | x | x
39 | x | x | DUNEX | x | x
40 | x | x | DUNEX | x | x
41 | x | x | DUNEX | x | x
42 | x | x | DUNEX | x | x
43 | x | ? | ? | ? | ?
44 | x | x | DUNEX-Develoment | x | x
45 | x | x | DUNEX | x | ?
46 | x | x | DUNEX | x | ?
47 | x | ? | ? | ? | ?
48 | x | ? | ? | ? | ?
49 | x | ? | ? | ? | ?
50 | x | ? | ? | ? | ?
51 | SENT TO ARCTIC | ? | ? | ? | ?
52 | SENT TO ARCTIC | ? | ? | ? | ?
53 | SENT TO ARCTIC | ? | ? | ? | ?
54 | x | ? | ? | ? | ?
55 | SENT TO ARCTIC | ? | ? | ? | ?
56 | x | ? | ? | ? | ?
57 | x | x | DUNEX | x | x
58 | x | ? | ? | ? | ?
59 | x | ? | ? | ? | ?
60 | x | ? | ? | ? | ?
61 | x | ? | ? | ? | ?
62 | x | ? | ? | ? | ?
63 | NO BOARD | ? | ? | ? | ?
64 |  | ? | ? | ? | ?
65 | x | ? | ? | ? | ?
66 | x | ? | ? | ? | ?